## Slide 1
Duke SmartHome: Electrical inventory
Basement
Main level
First level

## Slide 2
Main level plan-Power
Clean lab
Common room
Media room
Dirty lab
South facade
North facade
Kitchen
Back to building

## Slide 3
Clean lab
Back
PC3
Empty
PC1
Screen1
PC2+screen2
Verified
Problem: read notes

## Slide 4
Common room
Back
Empty
Speaker2
Not found
Stereo1
A-33, U-23 not found
Speaker3
Verified
Problem: read notes

## Slide 5
Kitchen
Back
Empty
Coffe-maker
Dish washer
Toaster
Range
Refrigerator
Empty
Empty
Empty
Speaker
Microwave
To verify if oven and range are connected
oven
Verified
Problem: read notes

## Slide 6
Media room
Back
Stereo2 + pc8
decoder
TV1
empty
pc7
empty
empty
empty
empty
Additional receptacle B-CKT q
Additional receptacle B-36
Verified
Problem: read notes
TV2

## Slide 7
Dirty lab
Back
Empty
PC5
Pc4+ hand vac
PC6
Empty
All PCs miss technical specification
Hand vac misses power
Verified
Problem: read notes

## Slide 8
South facade
Back
Empty
Empty
Irrigation controller
Irrigation controller
1) Irrigation controller to be verified
Verified
Problem: read notes

## Slide 9
North facade
Back
Empty
Lawn mower
Gas flow meter to verify
Verified
Problem: read notes

## Slide 10
First level
Hall
Balcony
Back to building

## Slide 11
Hall
Back
Refrigerator+ CO2 detector
Wireless doorbell
Empty
Empty
Empty
Empty
Empty
Empty
Empty
Empty
Washing machine??
Empty
Floor circuit not found except for the central receptacle
Connections washing machine??
Not found
Verified
Problem: read notes

## Slide 12
Balcony
Back
Empty
Verified
Problem: read notes

## Slide 13
Basement
Back to building
West
Central
East

## Slide 14
West
Back
Inverter controller
Phone
Oscilloscope
Empty
Panel section faces north in reality
U-13 not found
Not found
Verified
Problem: read notes

## Slide 15
Central
Back
Empty
Empty
Empty
Empty
Empty
Pump
Fan??
Empty
1) Fan needs to be verified
Verified
Problem: read notes

## Slide 16
East
Back
Empty
Empty
CO2 detector
Network interface
Boiler
Electrical boiler or drainage tank
Network interface needs to be verified (specifications needed also)
Verified
Problem: read notes